## Executive Summary
Ko Phangan Solar — Executive Summary
Metric | Value | Notes
Annual Roof Area | 50000 | m²
kWp/year | 9090 | 50,000 / 5.5 m²/kWp
MWp/year | 9.09
Systems/year | 182 | avg 50kWp each
PPA (60%) | 5455 | kWp — 109 systems
EPC (40%) | 3636 | kWp — 73 systems
Specific yield | 1450 | kWh/kWp/yr P50 (4.0 sun-hours/day); use 1,400 P90 for PPA cash flows; 0.5%/yr degradation
Cost per kWp | 14500 | THB/kWp ex-VAT (equipment + labour + island logistics), 30–100 kW tier — see 'Equipment Cost per kWp' rows 17-20 for 5–10 kW 17,000 / 500 kWp 14,000
Sale price EPC | 24000 | THB/kWp ex-VAT, 30–50 kW (10 kW = 30,000; 100 kW 20,000–24,000)
Gross Margin EPC | 39.6% | 40% (10 kW ≈ 40–45%, 50 kW ≈ 35–40%)
PPA Rate | 3.8 | THB/kWh, 30–150 kW (range 3.60–3.90; ≤3.40 for ≥500 kWp) — ≈17% below marginal PEA rate; 15-yr term
PEA Rate | 4.58 | THB/kWh marginal rate solar displaces — small business Type 2.1.1 ex-VAT (4.90 incl. VAT); residential >400 kWh 4.52; avg tariff Sep–Dec 2026 = 3.86
Sun Hours | 4 | peak sun-hours/day (= 1,450 kWh/kWp/yr)
Tariff escalation | 0.015 | per year, upper bound of 0–1.5% (Ft politically capped); was 3%
Year 1 Revenue | 137400000 | THB
Year 1 Net Profit | 3600000 | THB (incl PPA investment)
EPC Standalone Profit | 56300000 | THB
PPA Payback | 1.8 | years
PPA IRR | 45% | 45%
CapEx (startup) | 15200000 | THB (~$422K)
Headcount | 23 | employees
Monthly OpEx | 1580000 | THB
Year 3 Revenue | 405200000 | THB
Year 3 EBITDA | 165600000 | THB (margin 40.9%)
Year 5 MRR (PPA) | 30500000 | THB/month ($847K)
Year 5 Asset Value | 2580000000 | THB

## Staff & Org
Role | Count | Monthly (THB) | Annual (THB) | Department
CEO / MD | 1 | 432000 | 5184000 | Management
Sales Manager | 1 | 80000 | 960000 | Management
Project Manager | 1 | 70000 | 840000 | Management
Chief Engineer + PVsyst + Drafting | 1 | 65000 | 780000 | Management
Team Leaders | 3 | 40000 | 1440000 | Installation
Installers | 12 | 22000 | 3168000 | Installation
Licensed Electricians | 2 | 35000 | 840000 | Installation
O&M Technicians | 2 | 28000 | 672000 | O&M
Office Manager + Accounting + CS | 1 | 45000 | 540000 | Admin
TOTAL BASE | 23 |  | 14424000
Social (5%) |  |  | 721200
TOTAL WITH SOCIAL | 23 | 1262000 | 15145200

## OpEx
Item | Monthly (THB) | Annual (THB)
SALARY
Management (4) | 647000 | 7764000
Installation (17) | 454000 | 5448000
O&M (2) | 56000 | 672000
Admin (1) | 45000 | 540000
Social (5%) | 60000 | 720000
Subtotal Salary | 1262000 | 15144000
OPERATING
Office + Warehouse Rent | 50000 | 600000
Vehicles (3 pickups) lease | 45000 | 540000
Fuel + Vehicle Maintenance | 30000 | 360000
Marketing + Advertising | 80000 | 960000
Insurance (company + projects) | 35000 | 420000
Software (PVsyst, CRM, Office) | 8000 | 96000
Telecom + Internet | 5000 | 60000
Legal + Accountant | 25000 | 300000
Tools + Consumables | 20000 | 240000
Training + Licenses | 10000 | 120000
Miscellaneous | 15000 | 180000
Subtotal Operating | 323000 | 3876000
TOTAL OPEX | 1585000 | 19020000

## CapEx
Item | Cost (THB) | Notes
INFRASTRUCTURE
Office Renovation | 150000 | Thong Sala, 80m²
Furniture + IT | 120000 | Computers, monitors, server
Warehouse Deposit + Renovation | 100000 | 200m², shelves, gate
Subtotal Infrastructure | 370000
TOOLS / SOFTWARE
Vehicles × 3 (used) | 900000 | Toyota Hilux w/ tool tray
Tool Sets × 3 | 390000 | Drills, crimpers, etc.
Safety Equipment × 3 | 120000 | Harnesses, helmets, gloves
DJI Mini 4 Pro × 2 | 70000 | Roof surveys + inspections
FLIR Thermal Camera | 50000 | QA inspections
Multimeters + Testers | 30000 | Fluke, IV curve
PVsyst License × 2 | 32000 | CHF 450/year × 2
Small Forklift (used) | 180000 | For warehouse
Subtotal Equipment | 1772000
VEHICLES
JA/Jinko TOPCon 555–580W Panels × 1,300 | 3600000 | ~757 kWp
Huawei Inverters × 22 | 2100000 | 50kW units
Mounting Structure | 1500000 | Aluminum rails + clamps
DC + AC Cables | 660000 | ~22,000m
BOS (breakers, SPD, conduit) | 760000
Subtotal Inventory | 8620000
WORKING CAPITAL
OpEx × 3 months | 4410000
TOTAL CAPEX | 15172000 | ~$422K USD

## Equipment Cost per kWp
Component | Our Cost/kWp | % of Cost | Sale Price/kWp | % of Sale
Panels | 3000 | 20.7% | 0 | 0%
Inverters | 2800 | 19.3% | 0 | 0%
Mounting | 2000 | 13.8% | 0 | 0%
Cables + BOS | 1700 | 11.7% | 0 | 0%
Labor + island logistics | 5000 | 34.5% | 0 | 0%
Planning + Management | 0 | 0% | 2500 | 10.4%
Licensing + PEA | 0 | 0% | 2000 | 8.3%
Warranty + O&M Year 1 | 0 | 0% | 1000 | 4.2%
Equipment markup | 0 | 0% | 12500 | 52.1%
Labor markup | 0 | 0% | 6000 | 25%
TOTAL | 14500 | 100% | 24000 | 100%
Gross Margin |  |  | 9500 | 39.6%
Cost tiers (THB/kWp, ex-VAT, Sep 2026) |  |  | Sale price tiers (THB/kWp, ex-VAT)
5–10 kW | 17000 | residential / villa | 10 kW | 30000
30–100 kW (base case) | 14500 | resort / SME — used in B13 and Executive Summary!B11 | 50 kW (base case) | 24000
500 kWp | 14000 | range 13,500–14,500 | 100 kW | 22000
ESCO all-in capex | 16000 | range 15,000–17,000 (PPA, incl. dev + financing costs) | 500 kWp EPC | 18500

## Revenue Year 1
| Q1 avg/mo | Q2 avg/mo | Q3 avg/mo | Q4 avg/mo | Year 1 Total
EPC systems/month | 3 | 6 | 7 | 7 | 73
PPA systems/month | 5 | 9 | 10 | 12 | 109
kWp EPC | 150 | 300 | 350 | 350 | 3636
kWp PPA | 250 | 450 | 500 | 600 | 5455
EPC Revenue | 4880000 | 9750000 | 11380000 | 11380000 | 118170000
PPA Revenue (cumulative) | 500000 | 2100000 | 4800000 | 8200000 | 15600000
Total Revenue | 5380000 | 11850000 | 16180000 | 19580000 | 133770000
EPC Equipment Cost | 1400000 | 2800000 | 3260000 | 3260000 | 33810000
EPC Labor Cost | 380000 | 750000 | 880000 | 880000 | 9090000
PPA Investment | 2950000 | 5310000 | 5900000 | 7080000 | 64370000
O&M (PPA fleet) | 50000 | 180000 | 400000 | 650000 | 3930000
Salaries | 1260000 | 1260000 | 1260000 | 1260000 | 15120000
Operating Expenses | 320000 | 320000 | 320000 | 320000 | 3880000
Total Expenses | 6360000 | 10620000 | 12020000 | 13450000 | 130200000
Profit / Loss | -980000 | 1230000 | 4160000 | 6130000 | 3570000

## P&L 3 Years
| Year 1 | Year 2 | Year 3
REVENUE
EPC (installations) | 118200000 | 165400000 | 212700000
PPA (recurring) | 15600000 | 95800000 | 166000000
O&M contracts | 3600000 | 13000000 | 26500000
Total Revenue | 137400000 | 274200000 | 405200000
COST OF GOODS SOLD
EPC Equipment | 33800000 | 47300000 | 60900000
EPC Labor | 9100000 | 12700000 | 16400000
PPA Investment (equip+labor) | 64400000 | 88500000 | 112100000
O&M (PPA fleet) | 3930000 | 9300000 | 16200000
Total Direct Costs | 111230000 | 157800000 | 205600000
Gross Profit | 26170000 | 116400000 | 199600000
Gross Margin | 19.1% | 42.5% | 49.3%
OPERATING EXPENSES
Salaries + Social | 15100000 | 20700000 | 27500000
Operating + Marketing | 3880000 | 5000000 | 6500000
Total OpEx | 18980000 | 25700000 | 34000000
EBITDA | 7190000 | 90700000 | 165600000
EBITDA Margin | 5.2% | 33.1% | 40.9%
Tax (BOI exempt) | 0 | 0 | 0
Net Profit | 7190000 | 90700000 | 165600000

## PPA Portfolio 5yr
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5
New PPA (kWp) | 5455 | 7500 | 9500 | 12000 | 15000
Cumulative PPA (kWp) | 5455 | 12955 | 22455 | 34455 | 49455
Annual Production (MWh) | 8960 | 21289 | 36897 | 56607 | 81254
Annual PPA Revenue | 40300000 | 95800000 | 166000000 | 254700000 | 365600000
Annual O&M | 3930000 | 9300000 | 16200000 | 24800000 | 35600000
Net Annual PPA | 36370000 | 86500000 | 149800000 | 229900000 | 330000000
Cumulative Investment | 64400000 | 152900000 | 265000000 | 406600000 | 583600000
Monthly MRR from PPA | 3400000 | 8000000 | 13800000 | 21300000 | 30500000
Asset Value (10yr DCF) | 285000000 | 676000000 | 1170000000 | 1800000000 | 2580000000

## Cash Flow 3yr
| Year 1 | Year 2 | Year 3
OPERATING CASH FLOW
Equity / Investor | 15200000 | 0 | 0
Bank Loan (PPA) | 45000000 | 65000000 | 80000000
EPC Revenue | 118200000 | 165400000 | 212700000
PPA Revenue | 15600000 | 95800000 | 166000000
O&M Revenue | 3600000 | 13000000 | 26500000
Total Inflows | 197600000 | 339200000 | 485200000
INVESTING / FINANCING
CapEx + Working Capital | 15200000 | 4000000 | 5000000
EPC Costs (equip + labor) | 42900000 | 60000000 | 77300000
PPA Investment | 64400000 | 88500000 | 112100000
OpEx (salary + ops) | 19000000 | 25700000 | 34000000
O&M (PPA fleet) | 3930000 | 9300000 | 16200000
Loan Repayment + Interest | 5500000 | 17000000 | 30000000
Total Outflows | 150930000 | 204500000 | 274600000
Net Cash Flow | 46670000 | 134700000 | 210600000
Cumulative Cash | 46670000 | 181370000 | 391970000

## Dual Entity Split
| EPC Co. | PPA Co. (SPV)
ENTITY SPLIT
Revenue — External Customers | 118200000 | 0
Revenue — From PPA Co (cost+15%) | 74000000 | 0
PPA Revenue (ramp-up) | 0 | 15600000
Total Revenue | 192200000 | 15600000
Equipment Cost (all 9,090 kWp) | -84500000 | 0
Labor Cost (all 9,090 kWp) | -22700000 | 0
Payment to EPC Co | 0 | -74000000
Salaries (23 employees) | -15100000 | 0
Operating Expenses | -3880000 | 0
O&M | 0 | -3930000
Loan Repayment | 0 | -5500000
Net Profit / Cash Flow | 66020000 | -67830000
Net Margin | 34.3%
ARR at end of Year 1 |  | 40300000
Asset Value (DCF 10yr) |  | 285000000

## KPIs
KPI | Target | Category
New Leads/month | 80+ | Sales
Roof Surveys/month | 30+ | Sales
Proposals/month | 20+ | Sales
Close Rate | 50%+ | Sales
Systems/month | 15+ | Sales
CAC | <฿30K | Sales
Avg Deal Size | ฿1.2M | Sales
kWp Installed/month | 757+ | Installation
Install Time/system | 5-7 days | Installation
Safety Incidents | 0 | Installation
Parallel Projects | 4-6 | Installation
Quality Pass Rate | 98%+ | Installation
PEA Approval | <30 days | Installation
Gross Margin EPC | 40% | Financial
Net Margin | 20%+ | Financial
MRR Growth | 15%/month | Financial
Cash Collection | <45 days | Financial
DSCR (PPA loans) | >1.3x | Financial
Working Capital | 3 months+ | Financial
Customer LTV | ฿5M+ | Financial

## Assumptions QA
Area | Current workbook assumption | QA status | Required action
Electricity tariff | PEA retail/base assumptions vary across materials | Needs source per scenario | Use PEA bill or current PEA/ERC tariff before investor/client use
Export/net-billing | Export value appears as planning assumption | Not guaranteed | Confirm PEA/ERC program and approval path per project
Year 1 deployment | 9.09 MW / 182 systems / 60% PPA | Aggressive | Present as upside only; add base and downside scenarios
Installed cost | 14,500 THB/kWp direct cost (30–100 kW); 17,000 for 5–10 kW; 14,000 for 500 kWp | Updated 2026-09-05 (SPEC) | Tie to BOM (Integra quote Apr 2026) and supplier RFQs before each proposal
Sale price | 24,000 THB/kWp (50 kW) / 30,000 (10 kW), ex-VAT | Updated 2026-09-05 (SPEC) | Validate against proposal-builder price bands; always quote ex-VAT
PPA portfolio | Large retained asset portfolio | Capital constrained | Add financing, DSCR, default, insurance, and grid constraints
VAT/tax | Not consistently modeled | High risk | Model VAT explicitly and keep tax incentives separate unless approved
PEA/grid | Limited grid capacity treatment | High risk | Add PEA branch, transformer, feeder, and approval assumptions
Use of workbook | Business planning model | Internal planning only | Do not send to investors until sources and scenarios are added
Financial model version | business-qa-2026-09-05
Retail tariff default | 4.58 THB/kWh marginal (Type 2.1.1 small business, ex-VAT; 4.90 incl. VAT); residential 4.52; avg tariff Sep–Dec 2026 3.86
Export assumption | 0 THB/kWh for commercial / PPA sites (design zero-export). Residential net billing 2.20 THB/kWh (≤5 kW AC, Type 1 meter, 10-yr, ERC reg. 24 Jun 2026) — net billing, NOT net metering
Grid-tied blended value | 2.75 THB/kWh at 60% self-consumption (commercial, export = 0); residential 3.59 with 2.20 net billing
Battery blended value | 3.89 THB/kWh at 85% self-consumption (commercial); residential 4.17
Effective PR | 0.7469
CO2 factor | 0.477 kg/kWh
PPA tariff | 3.80 THB/kWh (3.60–3.90; ≤3.40 for ≥500 kWp), 15 yr, escalation 0–1.5%/yr
Tariff escalation | 0–1.5%/yr (was 3%)
Specific yield | 1,450 kWh/kWp/yr P50 (4.0 h/day); 1,400 P90 for PPA; 0.5%/yr degradation (was 4.5 h = 1,642)

## Financing
Bank financing terms — Thailand rooftop solar (as of Sep 2026, ex-VAT project cost)
Bank / product | Rate | Term | Max amount | Borrower | Notes
GSB — Solar for Life | 3.50% yrs 1–2 (3.25% secured), 5.00% yrs 3–5, then MRR | up to 7 yr | up to ฿1M | households / SME | applications to 31 Mar 2027
TTB — SME Solar Rooftop | 3.5% first 2 yrs, then floating | up to 8 yr | up to 100% of project | SME
Krungsri — Home for Cash Solar | 4.99% yr 1, then floating 5.98–8.90% | up to 30 yr | min ฿500K | homeowners (mortgage-backed)
GHB — Solar top-up | 1.00–1.99% | — | ≤ ฿300K | existing GHB mortgage customers
Bangkok Bank — Green loan | MRR − 1% ≈ 5.65% | ≤ 10 yr | — | business
Reference: BoT policy rate | 1.00% |  |  |  | use MLR/MRR, never LIBOR
Blended modelling assumption
Blended rate | 5% | range 4.5–5.5%
Term (years) | 8 | range 7–10 yr
LTV on PPA assets | 70%
Annuity payment calculator
Principal (THB) | 725000 | e.g. 50 kWp × 14,500
Annual rate
Years
Monthly payment (THB)
Annual debt service (THB)
Total interest over term (THB)
Annuity factor (annual payment / principal)
DSCR check (50 kWp PPA: 72,500 kWh × 3.80 − O&M 25,000)

## Update 2026-09
Update 2026-09-05 — assumption cells changed to SPEC (Sep 2026). Workbook is fully hard-coded (no formulas): downstream output cells below were NOT recalculated and need manual review. Suggested values come from the pnl-plan.html recompute (same volumes: 182 systems / 9,090 kWp, 60% PPA).
A. Input cells changed
Sheet | Cell | Old value | New value | Note
Executive Summary | A10 |  | Specific yield
Executive Summary | B10 |  | 1450
Executive Summary | C10 |  | kWh/kWp/yr P50 (4.0 sun-hours/day); use 1,400 P90 for PPA cash flows; 0.5%/yr degradation
Executive Summary | B11 | 11800 | 14500 | installed cost, 50 kWp base case
Executive Summary | C11 | THB (equipment + labor) | THB/kWp ex-VAT (equipment + labour + island logistics), 30–100 kW tier — see 'Equipment Cost per kWp' rows 17-20 for 5–10 kW 17,000 / 500 kWp 14,000
Executive Summary | B12 | 32500 | 24000 | sale price, 50 kWp base case
Executive Summary | C12 | THB/kWp | THB/kWp ex-VAT, 30–50 kW (10 kW = 30,000; 100 kW 20,000–24,000)
Executive Summary | B13 | 0.637 | 0.396
Executive Summary | C13 | 64% | 40% (10 kW ≈ 40–45%, 50 kW ≈ 35–40%)
Executive Summary | B14 | 4.5 | 3.8
Executive Summary | C14 | THB/kWh (25% discount from PEA) | THB/kWh, 30–150 kW (range 3.60–3.90; ≤3.40 for ≥500 kWp) — ≈17% below marginal PEA rate; 15-yr term
Executive Summary | B15 | 6 | 4.58
Executive Summary | C15 | THB/kWh average | THB/kWh marginal rate solar displaces — small business Type 2.1.1 ex-VAT (4.90 incl. VAT); residential >400 kWh 4.52; avg tariff Sep–Dec 2026 = 3.86
Executive Summary | B16 | 4.5 | 4
Executive Summary | C16 | hours/day average | peak sun-hours/day (= 1,450 kWh/kWp/yr)
Executive Summary | A17 |  | Tariff escalation
Executive Summary | B17 |  | 0.015
Executive Summary | C17 |  | per year, upper bound of 0–1.5% (Ft politically capped); was 3%
Equipment Cost per kWp | A6 | Labor | Labor + island logistics
Equipment Cost per kWp | B6 | 2500 | 5000 | was 2,500; SPEC direct cost 14,500 = 9,500 equipment + 5,000 labour/logistics
Equipment Cost per kWp | B13 | 11800 | 14500
Equipment Cost per kWp | B5 | 1500 | 1700 | align with deck: cables + BOS 1,700 so components sum to 14,500
Equipment Cost per kWp | C2 | 0.254 | 0.207
Equipment Cost per kWp | C3 | 0.237 | 0.193
Equipment Cost per kWp | C4 | 0.169 | 0.138
Equipment Cost per kWp | C5 | 0.127 | 0.117
Equipment Cost per kWp | C6 | 0.212 | 0.345
Equipment Cost per kWp | D7 | 5000 | 2500
Equipment Cost per kWp | D8 | 3000 | 2000
Equipment Cost per kWp | D9 | 2000 | 1000
Equipment Cost per kWp | D10 | 16500 | 12500
Equipment Cost per kWp | D11 | 6000 | 6000
Equipment Cost per kWp | D13 | 32500 | 24000
Equipment Cost per kWp | D14 | 20700 | 9500
Equipment Cost per kWp | E14 | 0.637 | 0.396
Equipment Cost per kWp | A16:E20 |  | cost / sale-price tier table | new
CapEx | A20 | Longi 580W Panels × 1,300 | JA/Jinko TOPCon 555–580W Panels × 1,300 | brand rule: LONGi → JA/Jinko/Trina
KPIs | B8 | ฿1.63M | ฿1.2M | 50 kWp × 24,000
KPIs | B15 | 64% | 40% | was 64%
KPIs | B16 | 29%+ | 20%+ | was 29%+
Assumptions QA | B5 | 11,800 THB/kWp equipment/direct cost | 14,500 THB/kWp direct cost (30–100 kW); 17,000 for 5–10 kW; 14,000 for 500 kWp
Assumptions QA | C5 | Supplier quote needed | Updated 2026-09-05 (SPEC)
Assumptions QA | D5 | Tie to BOM and actual supplier RFQs | Tie to BOM (Integra quote Apr 2026) and supplier RFQs before each proposal
Assumptions QA | B6 | 32,500 THB/kWp | 24,000 THB/kWp (50 kW) / 30,000 (10 kW), ex-VAT
Assumptions QA | C6 | Market-sensitive | Updated 2026-09-05 (SPEC)
Assumptions QA | D6 | Validate against proposal-builder price bands and VAT policy | Validate against proposal-builder price bands; always quote ex-VAT
Assumptions QA | B12 | business-qa-2026-04-29 | business-qa-2026-09-05
Assumptions QA | B13 | 4.40 THB/kWh before project-specific bill adjustments | 4.58 THB/kWh marginal (Type 2.1.1 small business, ex-VAT; 4.90 incl. VAT); residential 4.52; avg tariff Sep–Dec 2026 3.86
Assumptions QA | B14 | 3.10 THB/kWh planning assumption, verify before use | 0 THB/kWh for commercial / PPA sites (design zero-export). Residential net billing 2.20 THB/kWh (≤5 kW AC, Type 1 meter, 10-yr, ERC reg. 24 Jun 2026) — net billing, NOT net metering
Assumptions QA | B15 | 3.88 THB/kWh at 60% self-consumption | 2.75 THB/kWh at 60% self-consumption (commercial, export = 0); residential 3.59 with 2.20 net billing
Assumptions QA | B16 | 4.205 THB/kWh at 85% self-consumption | 3.89 THB/kWh at 85% self-consumption (commercial); residential 4.17
Assumptions QA | A19 |  | PPA tariff
Assumptions QA | B19 |  | 3.80 THB/kWh (3.60–3.90; ≤3.40 for ≥500 kWp), 15 yr, escalation 0–1.5%/yr
Assumptions QA | A20 |  | Tariff escalation
Assumptions QA | B20 |  | 0–1.5%/yr (was 3%)
Assumptions QA | A21 |  | Specific yield
Assumptions QA | B21 |  | 1,450 kWh/kWp/yr P50 (4.0 h/day); 1,400 P90 for PPA; 0.5%/yr degradation (was 4.5 h = 1,642)
Financing | A1:F24 |  | new sheet: bank terms + PMT annuity calc | new
B. Downstream hard-coded cells still at March-2026 assumptions (11,800 / 32,500 / 4.50 / 1,642) — manual review
Sheet | Cell(s) | Current value | Suggested value (Sep 2026 recompute) | Basis / formula
Executive Summary | B18 | 137,400,000 | 121,000,000 | EPC ext 3,636×24,000 = 87.3M + PPA ARR 5,455×1,450×3.80 = 30.1M + O&M 3.6M
Executive Summary | B19 | 3,600,000 | review | EPC EBITDA 26.2M less 30% PPA equity (0.3×87.3M = 26.2M) ≈ 0 in Y1 if PPA financed 70/30
Executive Summary | B20 | 56,300,000 | 26,200,000 | EPC gross 42.7M (ext 9,500/kWp + internal 1,500/kWp) − OpEx 16.5M
Executive Summary | B21 | 1.8 | 3.2 | 87.3M / (30.1M − 2.73M O&M)
Executive Summary | B22 | 0.45 | ~0.30 (unlevered, before tax/defaults) | 16,000/kWp, 1,450 kWh, 3.80, O&M 500, 15 yr
Executive Summary | B24 | 15,200,000 | review | deck uses ฿942K tools-only (office/warehouse/vehicles on Bustan Energy); workbook CapEx sheet keeps full 15.17M
Executive Summary | B28 | 405,200,000 | 318,200,000 | 168 + 123.7 + 26.5
Executive Summary | B29 | 165,600,000 | 162,900,000 (margin 51%) | EPC EBITDA 50.4M + PPA EBITDA 112.5M
Executive Summary | B30 | 30,500,000 | 22,700,000 | 272.5M / 12
Executive Summary | B31 | 2,580,000,000 | 1,940,000,000 | net PPA 247.8M × 7.82 (10-yr DCF factor implied by March model ≈ 4.75%)
Revenue Year 1 | B7:F7 | 4.88M / 9.75M / 11.38M / 11.38M / 118.17M | 3.6M / 7.2M / 8.4M / 8.4M / 87.3M | EPC kWp/mo × 24,000
Revenue Year 1 | B8:F8 | 0.5M / 2.1M / 4.8M / 8.2M / 15.6M | 0.3M / 1.7M / 3.6M / 5.8M / 11.4M | cumulative PPA kWp (1-month lag) × 1,450/12 × 3.80, quarterly totals
Revenue Year 1 | B12:F12 | 0.38M / 0.75M / 0.88M / 0.88M / 9.09M | 0.75M / 1.5M / 1.75M / 1.75M / 18.2M | EPC kWp × 5,000 labour+logistics
Revenue Year 1 | B13:F13 | 2.95M / 5.31M / 5.9M / 7.08M / 64.37M | 3.63M / 6.53M / 7.25M / 8.7M / 79.1M | PPA kWp × 14,500 (cost basis, single entity); deck dual-entity uses 16,000 transfer = 87.3M
Revenue Year 1 | B14:F14 | 0.05M … 3.93M | 0.03M / 0.12M / 0.28M / 0.45M / 2.73M | 5,455 kWp × 500
Revenue Year 1 | B17:F19 | totals / profit | recompute | sum of the above
P&L 3 Years | B3:D3 | 118.2M / 165.4M / 212.7M | 87.3M / 120M / 168M | 3,636 / 5,000 / 7,000 kWp × 24,000
P&L 3 Years | B4:D4 | 15.6M / 95.8M / 166M | 30.1M / 71.4M / 123.7M | cumulative PPA kWp × 1,450 × 3.80 (Y1 as ARR, per deck)
P&L 3 Years | B10:D10 | 9.1M / 12.7M / 16.4M | 18.2M / 25.0M / 35.0M | EPC kWp × 5,000
P&L 3 Years | B11:D11 | 64.4M / 88.5M / 112.1M | 79.1M / 108.8M / 137.8M | PPA kWp × 14,500
P&L 3 Years | B12:D12 | 3.93M / 9.3M / 16.2M | 2.73M / 6.5M / 11.2M | cumulative PPA kWp × 500
P&L 3 Years | B13:D26 | totals / EBITDA / net | recompute | deck consolidated EBITDA: 53.5M / 100.9M / 162.9M
P&L 3 Years | A25:D25 | Tax (BOI exempt) = 0 | SME CIT 0% ≤300K, 15% 300K–3M, 20% above | BOI removed solar-for-own-use 1 Jul 2025 (Ann. 3/2568); no CIT holiday for rooftop/EPC/ESCO
PPA Portfolio 5yr | B4:F4 | 8,960 / 21,289 / 36,897 / 56,607 / 81,254 | 7,910 / 18,785 / 32,560 / 49,960 / 71,710 | cumulative kWp × 1.45 MWh
PPA Portfolio 5yr | B5:F5 | 40.3M / 95.8M / 166M / 254.7M / 365.6M | 30.1M / 71.4M / 123.7M / 189.8M / 272.5M | MWh × 3,800 (0% escalation)
PPA Portfolio 5yr | B6:F6 | 3.93M / 9.3M / 16.2M / 24.8M / 35.6M | 2.73M / 6.48M / 11.23M / 17.23M / 24.73M | cumulative kWp × 500
PPA Portfolio 5yr | B7:F7 | 36.37M / 86.5M / 149.8M / 229.9M / 330M | 27.3M / 64.9M / 112.5M / 172.6M / 247.8M | revenue − O&M
PPA Portfolio 5yr | B8:F8 | 64.4M / 152.9M / 265M / 406.6M / 583.6M | 79.1M / 187.9M / 325.6M / 499.6M / 717.1M | cumulative kWp × 14,500 (deck at 16,000 transfer: 87.3 / 207.3 / 359.3 / 551.3 / 791.3)
PPA Portfolio 5yr | B9:F9 | 3.4M / 8M / 13.8M / 21.3M / 30.5M | 2.5M / 5.9M / 10.3M / 15.8M / 22.7M | revenue / 12
PPA Portfolio 5yr | B10:F10 | 285M / 676M / 1.17B / 1.8B / 2.58B | 214M / 508M / 880M / 1.35B / 1.94B | net × 7.82
Cash Flow 3yr | B4:D4 | 45M / 65M / 80M | 55M / 76M / 96M (cost basis) — deck: 61M / 84M / 106M | 70% LTV × PPA investment
Cash Flow 3yr | B5:D6 | EPC / PPA revenue | 87.3M / 120M / 168M ; 30.1M / 71.4M / 123.7M | as P&L 3 Years
Cash Flow 3yr | B12:D13 | 42.9M / 60M / 77.3M ; 64.4M / 88.5M / 112.1M | 52.7M / 72.5M / 101.5M ; 79.1M / 108.8M / 137.8M | EPC kWp × 14,500 ; PPA kWp × 14,500
Cash Flow 3yr | B15:D15 | 3.93M / 9.3M / 16.2M | 2.73M / 6.5M / 11.2M | O&M fleet × 500
Cash Flow 3yr | B16:D16 | 5.5M / 17M / 30M | 4.3M / 14.4M / 27.6M (cost basis); deck 4.7M / 16.0M / 30.7M | annuity 5% / 8 yr = 15.47%/yr of drawn loans, half-year on current-year drawdown (see Financing sheet)
Cash Flow 3yr | B17:D20 | totals / net / cumulative | recompute | deck consolidated: net +26.3M / +59.9M / +110.1M, cumulative 196.3M
Dual Entity Split | B3 | 118,200,000 | 87,260,000 | 3,636 × 24,000
Dual Entity Split | B4 (cost+15%) | 74,000,000 | 87,280,000 (cost + ~10% = 16,000/kWp) | 5,455 × 16,000
Dual Entity Split | C5 | 15,600,000 | 11,400,000 | Y1 ramp (see Revenue Year 1 B8:F8)
Dual Entity Split | B8:B9 | −84.5M / −22.7M | −86.4M / −45.4M | 9,090 × 9,500 ; 9,090 × 5,000
Dual Entity Split | C10 | −74,000,000 | −87,280,000 | payment to EPC Co
Dual Entity Split | C13 | −3,930,000 | −2,730,000 | 5,455 × 500
Dual Entity Split | C14 | −5,500,000 | ≈ −4,700,000 | debt service, 61M loan at 5%/8 yr, half-year
Dual Entity Split | B16:C17, C19:C20 | 66.0M / −67.8M / 34.3% ; 40.3M / 285M | recompute ; ARR 30.1M / asset 214M | EPC net = 174.5 − 131.8 − 15.1 − 3.9 ≈ 23.7M with workbook OpEx (deck: 26.2M)
Staff & Org / OpEx / CapEx | all | unchanged | unchanged | not affected by the price/cost/tariff update (CapEx A20 label only)